| City of Smiths Station 2336 Lee Road 430 Smiths Station, Alabama 36877 |  |
| --- | --- |
| Storm Water Management Program (SWMP) Plan NPDES Permit No. ALR040036 July 2011 |
| Prepared By: 2124 Moore’s Mill Road ♦ Suite 120 ♦ Auburn, Alabama 36830 |

Table of Contents

1. Program Administration	1-1

1.1.	Introduction	1-1

1.2.	Legal Authority	1-1

1.2.1.	Zoning Regulations	1-1

1.2.2.	Subdivision Regulations	1-2

1.2.3.	Intra Jurisdictional Agreements	1-2

1.3.	SWMP Revision	1-3

1.4.	Program Administration	1-4

1.5.	Signatory Requirements	1-5

2. MS4 Area	2-1

2.1.	MS4 Area	2-1

2.2.	Known Problems	2-1

3. Regulatory Requirements	3-1

3.1.	U.S. Environmental Protection Agency	3-1

3.1.1.	Phase II MS4 Requirements	3-1

3.1.2.	Effluent Limitation Guidelines	3-1

3.2.	Alabama Department of Environmental Management	3-2

4. Public Education	4-1

4.1.	Introduction	4-1

4.2.	Target Audiences	4-1

4.3.	Target Pollutant Sources	4-1

4.4.	Outreach Strategy	4-2

4.4.1.	Local Partnerships	4-2

4.4.2.	Brochures	4-3

4.4.3.	Web Site	4-3

4.4.4.	Workshops	4-4

4.4.5.	Training	4-5

4.5.	Program Goals	4-5

4.6.	Program Evaluation	4-5

5. Public Involvement	5-1

5.1.	Introduction	5-1

5.2.	Outreach Strategy	5-1

5.2.1.	Citizens Advisory Committee	5-2

5.2.2.	Lee County Water Festival	5-2

5.2.3.	Mill Creek Stakeholder Committee	5-2

5.2.4.	Public Involvement Opportunities	5-3

5.3.	Program Goals	5-4

5.4.	Program Evaluation	5-4

6. Illicit Discharge  Detection and Elimination	6-1

6.1.	Introduction	6-1

6.2.	Legal Authority	6-1

6.3.	Allowable and Occasional Incidental Discharges	6-1

6.4.	Preventing Illicit Discharges	6-2

6.5.	Public Education	6-2

6.6.	Data Management	6-2

6.7.	Searching for Illicit Discharges	6-3

6.7.1.	Field Activities	6-4

6.7.2.	Outfall Inventory Schedule	6-4

6.8.	Outfall Reconnaissance Inventory	6-4

6.8.1.	Field Sheets	6-5

6.8.2.	Screening Data	6-5

6.9.	Outfalls Screened	6-7

6.10.	Suspect Illicit Discharges	6-7

6.10.1.	Field Screening	6-7

6.10.2.	Locating Illicit Discharges	6-9

6.10.3.	Sample Collection	6-9

6.10.4.	Evaluation of Results	6-9

6.11.	Locating and Removing Illicit Discharges	6-10

6.11.1.	Locating Illicit Discharges	6-10

6.11.2.	Removing Illicit Discharges	6-11

6.12.	Spill Response	6-11

6.13.	Sanitary Sewer System	6-12

6.13.1.	Smiths Water and Sewer Authority	6-12

6.13.2.	Lee County Health Department	6-12

6.14.	Enforcement	6-13

6.14.1.	Warning Notice	6-13

6.14.2.	Cease and Desist Order	6-13

6.14.3.	Notice of Violation	6-14

6.14.4.	Judicial Proceedings	6-15

6.14.5.	Fines and Penalties	6-15

6.14.6.	Public Nuisance	6-16

6.15.	Staff Training	6-16

6.16.	Standard Operating Procedures	6-16

6.17.	Program Goals	6-17

6.18.	Program Evaluation	6-17

7. Construction Site Runoff	7-1

7.1.	Introduction	7-1

7.2.	Legal Authority	7-1

7.3.	Requirements and Control Measures	7-2

7.3.1.	Erosion and Sediment Controls	7-2

7.3.2.	Soil Stabilization	7-2

7.3.3.	Dewatering	7-3

7.3.4.	Pollution Prevention Measures	7-3

7.3.5.	Prohibited Discharges	7-3

7.3.6.	Surface Outlets	7-3

7.4.	Permitting	7-4

7.4.1.	Subdivision Permit	7-4

7.4.2.	Plan Review	7-6

7.4.3.	Building Permit	7-6

7.5.	Construction Site Inventory	7-7

7.6.	Inspections	7-7

7.6.1.	Initial Inspection	7-7

7.6.2.	Routine Inspection	7-8

7.6.3.	Re-Inspection	7-9

7.6.4.	Final Inspection	7-9

7.7.	Enforcement	7-9

7.7.1.	Verbal Warning	7-10

7.7.2.	Cease and Desist Order	7-10

7.7.3.	Notice of Violation	7-11

7.7.4.	Compliance Order	7-11

7.7.5.	Judicial Proceedings	7-12

7.7.6.	Fines and Penalties	7-12

7.8.	Staff Training	7-12

7.9.	Program Goals	7-12

7.10.	Program Evaluation	7-14

8. Post Construction  Storm Water Management	8-1

8.1.	Introduction	8-1

8.2.	Legal Authority	8-1

8.3.	Program Components	8-2

8.3.1.	Low Impact Development	8-2

8.3.2.	Non-Structural BMPs	8-2

8.3.3.	Structural BMPs	8-2

8.3.4.	Operation and Maintenance	8-3

8.3.5.	Tracking System	8-3

8.4.	Program Goals	8-3

8.5.	Program Evaluation	8-3

9. Pollution Prevention Good Housekeeping	9-1

9.1.	Introduction	9-1

9.2.	Program Components	9-1

9.2.1.	Facility Inventory	9-1

9.2.2.	Facility Assessment	9-2

9.2.3.	Industrial Facilities	9-2

9.2.4.	Standard Operating Procedures	9-3

9.2.5.	Storm Sewer System Maintenance	9-3

9.2.6.	Training	9-4

9.2.7.	Flood Management	9-4

9.3.	Program Goals	9-4

9.4.	Program Evaluation	9-5

10. Monitoring Plan	10-1

10.1.	Introduction	10-1

10.2.	Alabama Water Watch	10-1

10.2.1.	Sampling Sites	10-1

10.2.2.	Sample Parameters	10-2

10.2.3.	Sample Collection and Analysis	10-3

10.2.4.	Analytical Results	10-3

10.2.5.	Training	10-3

10.3.	Data Evaluation	10-4

List of Tables

Table 1-1    Zoning Districts	1-2

Table 1-2    Program Revision Record	1-3

Table 2-1    Smiths Station MS4 Area	2-1

Table 2-2    2010 303(d) Listed Streams	2-4

Table 4-1    Summary of Brochures	4-4

Table 4-2    Public Education – Program Goals	4-6

Table 5-1    Public Involvement – Program Goals	5-5

Table 6-1    Outfalls by Basin	6-7

Table 6-2    Smiths Water and Sewer Authority	6-12

Table 6-3    Illicit Discharge – Program Goals	6-18

Table 7-1    Construction Site Runoff – Program Goals	7-15

Table 8-1    Post Construction Storm Water Management – Program Goals	8-4

Table 9-1    Pollution Prevention / Good Housekeeping – Program Goals	9-6

Table 10-1    Mill Creek Historical Water Quality Data	10-1

Table 10-2    AWW Monitoring Locations	10-2

List of Figures

Figure 1-1    Program Organizational Chart	1-4

Figure 2-1    Smiths Station	2-2

Figure 2-2    Columbus Urbanized Area	2-3

Figure 6-1    Outfall Inventory Schedule	6-6

Figure 6-2    Smiths Station – Storm Water Outfalls	6-8

Figure 6-3    Flow Chart to Identify Illicit Discharges in Residential Areas	6-10

Figure 6-4    Enforcement Action Flow Chart	6-14

Figure 7-1    Permitting and Plan Review Flow Chart	7-5

Figure 7-2    Enforcement Action Flow Chart	7-13

Figure 10-1    AWW Monitoring Locations	10-2

Figure 10-2    Water Quality Test Kit	10-4

Appendices

Appendix A    NPDES Permit ALR040036

Appendix B    Public Education

Appendix C    Illicit Discharge Detection and Elimination

Appendix D    Construction Site Runoff

Appendix E    Post Construction Storm Water Management

Appendix F    Pollution Prevention Good Housekeeping

Appendix G    Monitoring

DO NOT DELETE SECTION BREAK

# Program Administration

## Introduction

In 1990, the U.S. Environmental Protection Agency (EPA) promulgated regulations establishing Phase I of the National Pollutant Discharge Elimination Systems (NPDES) storm water program.  The Phase I program for municipal separate storm sewer systems (MS4s) requires operators of “medium” and “large” MS4s that generally serve populations of 100,000 or greater to implement a storm water management program as a means to control polluted discharges from certain municipal, industrial and construction activities into the MS4.

In 1999, EPA promulgated regulations establishing Phase II of the NPDES storm water program.  The Phase II program extends coverage of the NPDES storm water program to regulated “small” MS4s.  A regulated “small” MS4 is located within an “urbanized area” as defined by the Census Bureau or as designated by the NPDES permitting authority.

The Alabama Department of Environmental Management (ADEM) presently has primary jurisdiction over permitting and enforcement of the storm water program for Alabama.  On 31 January 2011, ADEM issued MS4 Phase II General Permit (NPDES Permit Number ALR040036) for storm water discharges associated with the Smiths Station MS4.

The Storm Water Management Program (SWMP) Plan has been developed to generally describe the City’s efforts to maintain compliance with the requirements of NPDES Permit ALR040036.  This document is intended to be a dynamic document and shall be revised as needed to accurately reflect the City’s activities in implementing its SWMP.

## Legal Authority

The City of Smiths Station was officially incorporated in June 2001.  As an incorporated city, Smiths Station has the legal authority to create land use and design regulations for developments within the City’s corporate limits.

### Zoning Regulations

In accordance with the authority granted by Title 11, Articles 1 through 4 of the Code of Alabama 1975, the City of Smiths Station has developed and implemented a Zoning Ordinance (No. 2006-032) to regulate development within its corporate limits.  The Zoning Ordinance became effective on 24 October 2006.

The Zoning Ordinance establishes five zoning districts as described in Table 1-1.  The boundaries of each zoning district are depicted on the “Zoning Map”.

Table 1-1   
Zoning Districts

| Zoning District | Description |
| --- | --- |
| A | Agriculture |
| R-1 | Residential – Single Family |
| R-2 | Residential – Multi Family |
| C-1 | Commercial |
| C-2 | Commercial – Heavy Industry |

Uses within each zoning district are further described in Article V of the Zoning Ordinance.  For each zoning district a particular use is either permitted, conditional or not permitted.

Latest revisions of the Zoning Ordinance and Zoning Map are incorporated into the SWMP Plan by reference.

### Subdivision Regulations

In accordance with the authority granted by Title 11, Chapter 52, Article 1 of the Code of Alabama 1975, the City of Smiths Station has established procedures and standards for the design and development of proposed subdivisions or additions to existing subdivisions located within the jurisdiction of the City of Smiths Station.  The latest version of the Subdivision Regulations is incorporated into the SWMP Plan by reference.

### Intra Jurisdictional Agreements

Previously, Smiths Station maintained compliance with the Phase II storm water regulations as a co-permittee with Lee County under NPDES Permit Number ALR040012.  All six (6) minimum controls and annual reporting were performed by Lee County on behalf of Smiths Station.  Smiths Station may facilitate the creation of an intra jurisdictional agreement with Lee County to identify, describe and define, if any, the assistance Smiths Station may require in maintaining compliance with the NPDES permit.

## SWMP Revision

Revisions to the SWMP Plan shall be documented in Table 1-2.

Table 1-2   
Program Revision Record

| Date: | Revised By: | Description of Revision: |
| --- | --- | --- |

## Program Administration

The City’s organizational structure for administrating its SWMP Plan is provided in Figure 1-1.

Figure 1-1   
Program Organizational Chart

## Signatory Requirements

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

LaFaye Dellinger		Mayor

Name 	Title

| Signature |  | Date |
| --- | --- | --- |

Address:	2336 Lee Road 430t
Smiths Station, Alabama 36877

Phone:	(334) 297-8771

DO NOT DELETE SECTION BREAK

# MS4 Area

## MS4 Area

The City of Smiths Station is located in the southeast corner of Lee County and is part of the Columbus, Georgia-Alabama Metropolitan Statistical Area.  The City occupies approximately 6.41 square miles.  Metropolitan areas located adjacent to the City include Phenix City and unincorporated areas of Lee County.  Since the City was incorporated in 2001, Census data is not available for 2000.  Census data for 2010 shows the population of Smiths Station to be 11,947 and a population density of approximately 1,863 per square mile.

Current Urbanized Area maps are based on the 2000 Census data.  Upon release of the Urbanized Areas developed from the 2010 Census data, the SWMP Plan will require revision to incorporate any changes in the urbanized areas.  Information regarding the City’s MS4 area is summarized in Table 2-1.

Table 2-1   
Smiths Station MS4 Area

| Urbanized Area | HUC-12 Drainage Basin | MS4 Area (mi2) | Total Area (mi2) |
| --- | --- | --- | --- |
| Columbus | Lower Little Uchee Creek | 2.20 | 6.41 |
|  | Mill Creek | 3.01 |  |
|  | Soap Creek | 1.20 |  |

A location map is provided in Figure 2-1.  The Columbus Urbanized Area based on the 2000 Census data is shown in Figure 2-2.

## Known Problems

According to ADEM’s 303(d) list dated April 2010 (Pending EPA Approval), there are four streams within the County that have been designated as impaired.  The only impaired stream located within the corporate limits of Smiths Station is Mill Creek.  ADEM’s 303(d) listing for Mill Creek is summarized in Table 2-2 and shown on Figure 2-2.

Figure 2-1   
Smiths Station

Figure 2-2   
Columbus Urbanized Area

Table 2-2   
2010 303(d) Listed Streams

| Stream | Designated Use | Pollutant of Concern | Sources |
| --- | --- | --- | --- |
| Name | River Basin |  |  |  |
| Mill Creek | Chattahoochee | Fish and Wildlife | Organic Enrichment | Urban Development |

Mill Creek is listed as impaired for organic enrichment from sources attributed to urban development.  The headwaters of Mill Creek are located within portions of Smiths Station and unincorporated areas of Lee County.  Due to the limited availability of a sanitary sewer system, wastewater from residential and commercial sources is treated by on-site sewage disposal systems.  In 2010, a watershed management plan was developed for Mill Creek.  The watershed management plan identified potential sources of pollution contributing to the impairment of Mill Creek as well as recommended Best Management Practices (BMPs) that could be implemented to improve the quality of Mill Creek.

DO NOT DELETE SECTION BREAK

# Regulatory Requirements

## U.S. Environmental Protection Agency

### Phase II MS4 Requirements

U.S. EPA defines the requirements for a SWMP Plan designed to reduce the discharge of pollutants from the MS4 to the maximum extent practicable (MEP), to protect water quality, and to satisfy the appropriate water quality requirements of the Clean Water Act in Title 40, Part 122, Sections 30 through 37 of the Code of Federal Regulations (40 CFR Parts 122.30 through 122.37).  These regulations are incorporated into the SWMP Plan by reference.

### Effluent Limitation Guidelines

40 CFR 450 Construction and Development Point Source Categories establishes effluent limitation requirements for constructions sites and is incorporated into the SWMP Plan by reference.  An outline of 40 CFR 450 is provided below.

Part 450 – Construction and Development Point Source Category

Subpart A – General Provisions

  - Applicability

  - General Definitions

Subpart B – Construction and Development Effluent Guidelines

  - Effluent limitations reflecting best practicable technology currently available (BPT).

  - Effluent limitations reflecting the best available technology economically achievable (BAT).

  - Effluent limitations reflecting the best conventional pollutant control technology (BCT).

  - New source performance standards reflecting the best available demonstrated control technology (NSPS).

## Alabama Department of Environmental Management

The City’s MS4 Program is currently operating under the requirements of the National Pollutant Discharge Elimination Systems (NPDES) Permit No. ALR040036 that became effective on 1 February 2011.  Part III of the NPDES permit defines the requirements of the SWMP Plan and the requirements of the six (6) minimum control measures.

A copy of NPDES Permit ALR040036 is provided in Appendix A.

DO NOT DELETE SECTION BREAK

# Public Education

## Introduction

The MS4 NPDES permit requires the City to develop, implement and evaluate a public education and outreach program.  Goals of the program are to:

- Educate the community about the impacts of storm water discharges into streams, rivers, lakes and ponds; and,

- Identify steps that the community can take to help reduce pollutants in storm water runoff.

## Target Audiences

Development within the City’s MS4 areas primarily consists of residential, commercial and light industrial uses.  Audiences typically associated with this type of development and land use include:

- Home owners;

- Renters;

- Schools;

- Business owners and employees;

- Professionals;

- Developers;

- Contractors; and,

- Elected officials.

Educational materials will be specifically tailored to communicate a specific topic to a targeted audience.

## Target Pollutant Sources

Since Mill Creek is listed on ADEM’s 303(d) list as impaired pending the development a TMDL, there are several sources of pollution that need to be targeted in the public education program.  Target pollutant sources include:

- Illegal dumping;

- Improper disposal;

- Failing septic systems;

- Impacts of development;

- Construction site erosion; and,

- Improper application of fertilizers, herbicides and pesticides;

Educational materials will also be developed to describe BMPs that are effective in reducing the impacts of development on storm water runoff.  Topics may include but are not limited to the following:

- General impacts of storm water runoff;

- Rain water reuse;

- Low impact development practices; and,

- Impacts of development.

Educational materials will be specifically tailored for the targeted pollutant source of concern and/or pollution prevention practices.

## Outreach Strategy

The City will utilize a variety of techniques to implement its public education and outreach program.  Mechanisms and activities that have proven to be effective in educating the public include:

- Local Partnerships;

- Brochures;

- Website;

- Workshops; and,

- Training.

A description of how the City is using these activities is described in more detail in the following sections.

### Local Partnerships

Since the promulgation of the Phase II NPDES storm water regulations in 1999, Lee County has been an active partner in the formation and continued participation of a citizen advisory committee known as “ALOA”.  ALOA was created in 1999 and is comprised of citizens and representatives from the City of Auburn, Lee County, City of Opelika and Auburn University.  ALOA was created to provide a public forum for input on educational materials, storm water policies, and storm water regulations.  In May 2011, Smiths Station has begun participation in ALOA.

To capitalize on education materials and programs that have been developed, Lee County has formed partnerships with several state and local organizations including:

- Alabama Department of Environmental Management;

- Alabama Clean Water Partnership;

- Alabama Cooperative Extension System;

- City of Auburn;

- City of Opelika;

- Auburn University;

- City of Smiths Station; and,

- Save our Saugahatchee.

As the City’s MS4 program continues to evolve, the City will establish partnerships with the entities listed above as well as to seek partnerships with other agencies and organizations to facilitate the public education program.

### Brochures

Through Lee County’s participation in ALOA, several brochures have been developed for a variety of audiences and a variety of topics.  Lee County has also obtained a variety of brochures from the Alabama Clean Water Partnership.  Smiths Station shall obtain copies of the brochures and make them available at City Hall.

Brochures currently available through Lee County are summarized in Table 4-1 and provided in Appendix B.

### Web Site

The internet provides a very accessible mechanism for making information and data available to residents.  The City’s web site shall be expanded to incorporate storm water related topics as well as provide information regarding the City’s storm water related activities.

Table 4-1   
Summary of Brochures

| Description | Target Pollution Source | Target Audience |
| --- | --- | --- |
| Rain Gardens | Rain Water Reuse | Home Owners Renters Schools Business Owners Elected Officials |
| Rain Barrels |  |  |
| Leaking Oil | Illegal Dumping Improper Disposal |  |
| Pet Waste |  |  |
| Lawn Fertilizing |  |  |
| Car Washing |  |  |
| Materials Management |  |  |
| Illicit Discharges | Septic Systems |  |
| Low Impact Development | Development | Professionals Developers Contractors Elected Officials |
| Alternative Storm Water Treatment Technologies |  |  |
| Erosion and Sediment Control Policy | Construction Site Erosion |  |
| Storm Water Related Websites | Informational | Home Owners Renters Schools Business Owners Professionals Developers Contractors Elected Officials |
| Local Water Resources |  |  |
| Our Local Watersheds |  |  |
| Saugahatchee Watershed |  |  |
| Mill Creek Watershed (Draft) |  |  |
| Stream Buffers |  |  |
| Wetlands |  |  |

### Workshops

Workshops are useful in educating a specific target audience about a specific topic or issue.  Capitalizing on existing training programs, the City will work with its partners to sponsor workshops in a variety of topics.  Workshops that have been identified for this permit cycle may include the following:

- Nonpoint Education for Municipal Officials (NEMO) – The City will coordinate with ADEM to evaluate and identify workshops that will be beneficial to the City’s leadership.

- Erosion and Sediment Control – The City will evaluate and identify workshops that will be beneficial to city staff, professionals and development community.

- Low Impact Development – The City will evaluate and identify workshops that will be beneficial to City staff, professionals and development community.

As the City’s MS4 program continues to evolve, the types and frequency of workshops may be modified to address the changing needs of the City.

### Training

The City will evaluate potential training programs, activities and/or materials that can be used to educate the City’s staff in storm water related issues.

## Program Goals

The City has developed realistic, achievable and measurable goals and performance milestones to measure the progress in implementing a public education and outreach program.  Program goals are summarized in Table 4-2.

## Program Evaluation

The most basic measure to evaluate the program effectiveness is to evaluate whether the program goals are being met.  At the end of the permit year, the City will evaluate the program goals and overall effectiveness in educating the public on storm water related issues.  Results of the program evaluation will be summarized in the Annual Report.

Table 4-2   
Public Education – Program Goals

DO NOT DELETE SECTION BREAK

# Public Involvement

## Introduction

The MS4 NPDES permit requires the City to develop, implement and evaluate a public involvement and participation program.  Goals of the program are to:

- Provide opportunities for public input and feedback;

- Engage the public to actively participate; and,

- Facilitate opportunities to provide public education.

As the public gains a greater understanding of the benefits of a storm water program, the City is likely to gain more support for the SWMP and increased compliance with the NPDES permit requirements.  Public education and involvement provides a mechanism to help the public understand how there actions can potentially impact storm water quality.  Public participation can also help reduce the amount of pollution generated and identify potential pollution causing activities and/or sources.

## Outreach Strategy

The City will utilize a variety of mechanisms to implement its public involvement program.  Mechanisms and activities that have proven to be effective in engaging the public include:

- Citizens Advisory Committee;

- Lee County Water Festival;

- Mill Creek Stakeholder Committee; and,

- Public Involvement Opportunities.

A description of how the City is using these activities is described in more detail in the following sections.

### Citizens Advisory Committee

Since the promulgation of the Phase II NPDES storm water regulations in 1999, Lee County has been an active partner in formation and continued participation of a citizen advisory committee known as “ALOA”.  ALOA was created in 1999 and is comprised of citizens and representatives from City of Auburn, Lee County, City of Opelika and Auburn University.  ALOA was created to provide a public forum for input on educational materials, storm water policies, and storm water regulations.  ALOA meets on a quarterly basis.  The City will facilitate participation in this advisory committee.

### Lee County Water Festival

The mission of the Lee County Water Festival is to educate students about all aspects of surface water and groundwater and other related natural resources (such as wetlands, forestry, wildlife and much more) and to instill in them a general environmental awareness and stewardship ethic.  Students and their teachers will go home with increased knowledge and awareness of the importance of our precious water resources and on becoming good environmental stewards of these resources.  All 4th Grade students in Lee County including, public, private and home schooled students are invited to participate.  Over recent years, the festival has had an annual participation level of over 2,000 participants.

The City has not only been a long term sponsor of this event; but, also provides staff that actively participates in the festival.  This is an excellent opportunity to help shape the environmental behaviors of 4th grade students.  It is well documented that educating school age children help in improving the environmental behaviors of their parents.

### Mill Creek Stakeholder Committee

The City was an active participant in the development of the Mill Creek Watershed Management Plan.  The watershed management plan process involved identifying stakeholders and developing various committees to assist in the development of the plan.  Stakeholder committees created and their contribution to the watershed management plan included:

Technical Committee

- Evaluate and analyze water quality data;

- Identify target areas within the watershed; and,

- Identify potential BMPs.

Education and Outreach Committee

- Identify target audiences;

- Identify educational components; and,

- Organize partner meetings.

Resource Committee

- Compile historical data and information; and,

- Analyze current and past impairments.

The City will continue to participate in the stakeholder committees as well as assist in the implementation of the Mill Creek Watershed Management Plan.

### Public Involvement Opportunities

There are a variety of BMPs available that actively incorporates public involvement into the City’s MS4 Program.  BMPs being considered by the City include but are not limited to the following:

- Hotline;

- Adopt-a-stream;

- Adopt-a-highway;

- Stream clean-up events;

- Stream bank planting / staking;

- Stream signage;

- Storm drain marking;

- Volunteer monitoring;

- Household hazardous waste day; and,

- Recycling.

The City will evaluate and determine the most appropriate BMPs to implement within its MS4 boundary.  The type and frequency of BMPs implemented will be dependent upon funding, public interest, volunteer availability, and effectiveness.

## Program Goals

The City has developed realistic, achievable and measurable goals and performance milestones to measure the progress in implementing a public involvement program.  Program goals are summarized in Table 5-1.

## Program Evaluation

The most basic measure to evaluate the program effectiveness is to evaluate whether the program goals are being met.  At the end of the permit year, the City will evaluate the program goals and overall effectiveness of public involvement on storm water related issues.  Results of the program evaluation will be summarized in the Annual Report.

Table 5-1   
Public Involvement – Program Goals

DO NOT DELETE SECTION BREAK

# Illicit Discharge 
Detection and Elimination

## Introduction

This illicit discharge program has been developed using the following guidance materials.

- NPDES Permit ALR040036;

- 40 CFR 122.26; and,

- Illicit Discharge Detection and Elimination, A Guidance Manual for Program Development and Technical Assessments, October 2004.

These documents are incorporated into the SWMP Plan by reference and are available in the office of the Storm Water Program Coordinator.

## Legal Authority

In accordance with 40 CFR 122.34(b)(3)(ii)(B), the City shall develop an Illicit Discharge Detection and Elimination Ordinance that establishes the legal authority for the City to prohibit illicit discharges into the MS4 and to implement appropriate enforcement procedures and actions.

## Allowable and Occasional Incidental Discharges

In accordance with Part I, Section B2 of the NPDES permit, the following non-storm water sources are allowed.  The City has determined that these non-storm water discharges are not substantial contributors of pollutants to the MS4:

- Water line flushing;

- Landscape irrigation water;

- Diverted stream flows;

- Uncontaminated ground water infiltration to storm drains;

- Uncontaminated pumped ground water;

- Discharges from potable water sources;

- Foundation and/or footing drain water (not including active groundwater dewatering systems);

- Air conditioning condensation;

- Irrigation water;

- Rising ground waters;

- Springs;

- Water from crawl space pumps;

- Footing drains;

- Lawn watering runoff;

- Individual residential car washing;

- Discharge or flows from fire fighting activities (including fire hydrant flushing);

- Flows from riparian habitats and wetlands;

- Dechlorinated swimming pool discharges; and,

- Discharges authorized by and in compliance with a separate NPDES permit.

## Preventing Illicit Discharges

The Illicit Discharge Program identifies key behaviors of the public, facilities and municipal operations that produce intermittent and/or transitory discharges.  These key behaviors are targeted to improve pollution prevention practices and prevent or reduce the risk of discharge.  The City shall develop a wide variety of education and enforcement tools to promote pollution prevention practices.

## Public Education

Public education activities associated with the illicit discharge detection and elimination are described in Section 4 of the SWMP Plan.

## Data Management

The County has a dedicated IT Department responsible for obtaining, developing, and maintaining the County’s GIS data and system.  The County’s IT Department coordinates with other local governments to acquire updated GIS information and data.

The County uses a state of the art GIS system to manage all types of information and data.  Mapping layers available to support the City’s illicit discharge program may include but are not limited to the following.

- Aerial photography;

- City and County boundaries;

- Roads;

- Buildings;

- Parcels;

- Zoning;

- Hydrologic data (streams, wetlands, drainage basins, etc.);

- TMDL listed stream segments;

- 303d listed stream segments; and,

- Storm water outfalls.

The County has an on-going effort to update and maintain the information and data contained in the GIS system.  A GIS layer has been created to map the major outfalls located within the City’s MS4 area.

The City shall coordinate with the County to acquire updated GIS data and information on an as needed basis.

## Searching for Illicit Discharges

The City shall implement a comprehensive program to detect and eliminate illicit discharges.  There are two categories of pollutants that will be addressed in different ways.

- The first category is pollutants introduced into the MS4 from individuals in a one-time distinct episode at a discrete point of entry.  Examples of these are dumping of yard waste, motor oil, antifreeze or trash into a creek or storm drain.  These types of pollutants, when discovered in the MS4 or local streams, cannot be effectively investigated as to the source (i.e. the individual causing the pollution).  Also they are not normally discovered using a City-wide MS4 inspection program of monitoring fixed stations with scheduled work-day inspections.  One of the best means of discovery will be through input from citizens, City crews, Police and Fire departments, businesses, and area agency field crews.  Prevention of future isolated pollution episodes will rely upon implementation of the Public Education and Public Involvement programs.

- The second category is pollutants from sources that have a chronic or frequently repeating discharge that can be traced through stream channels and the MS4 system using visual inspections and chemical field test kits, and laboratory monitoring.  Pollutants from these sources will be dispersed downstream as a detectable odor, visual color, increased turbidity, excessive algae growth, or changes in water chemistry (e.g. pH or conductivity) when compared to uncontaminated water in the stream or MS4.  These chronic pollutants are amenable to “source tracking” inspections, and the sources are more likely to be found and mitigated.

Searching for illicit discharge problems consists of detective work, and involves field screening of subwatersheds to locate outfalls and identify suspect illicit discharges.  The primary field screening tool that will be used is the Outfall Reconnaissance Inventory (ORI).  This recommended method is very effective for finding illicit discharge problems and developing an outfall inventory of the MS4.  If suspect discharges are encountered during the field screening, the ORI will be supplemented with indicator monitoring methods to test suspect discharges.

### Field Activities

Field activities associated with the outfall reconnaissance inventory shall be performed when there has been a prolonged dry period with a minimum of 72 hours from the previous measurable (greater than 0.10 inch rainfall) storm event.

### Outfall Inventory Schedule

Over the past permit cycles, the County has identified outfalls located within the City’s MS4 area.  With the issuance of NPDES Permit ALR040036, the City will develop a schedule to identify and screen all major outfalls located within the City’s MS4 Area by January 2016.  The areas of the City that will be evaluated each year shall be incorporated into Figure 6-1.  After all major outfalls have been located and screened; the City will evaluate the screening data and identify priority areas for future evaluation.

Beginning January 2016, the City shall screen all major outfalls within a 5 year period.

## Outfall Reconnaissance Inventory

The outfall reconnaissance inventory is designed to locate and record basic characteristics of each outfall.  During the inventory process, each outfall shall be screened for the presence of illicit discharge(s).  The City’s outfall reconnaissance inventory methodology and procedures shall be developed in accordance with Chapter 11 of the Illicit Discharge Detection and Elimination guidance manual.

### Field Sheets

The City will utilize the Outfall Reconnaissance Inventory / Sample Collection Field Sheet provided with the Illicit Discharge Detection and Elimination guidance manual to collect and document each outfall located and screened.  A copy of the Outfall Reconnaissance Inventory / Sample Collection Field Sheet is provided in Appendix C.

### Screening Data

Information and data that will be collected for each major outfall includes the following:

Section 1 – Background Data

- Coordinates

- Photograph

Section 2 – Outfall Description

- Location

- Material

- Shape

- Dimensions

- Submerged

Section 3 – Quantitative Characterization

- Parameter

- Result

- Unit

- Equipment

Section 4 – Physical Indicators for flowing outfalls only

- Indicator

- Description

- Relative Severity Index

Section 5 – Physical Indicators for both flow and non-flowing outfalls.

- Indicator

- Description

Figure 6-1   
Outfall Inventory Schedule

Chapter 11 of the Outfall Reconnaissance Inventory of the Illicit Discharge Detection and Elimination Guidance Manual provides direction in completing the Outfall Reconnaissance Inventory / Sample Collection Field Sheet information.

## Outfalls Screened

As of 1 February 2011, the County has located 25 outfalls within the City’s MS4 Area.  A breakdown of major and minor outfalls by sub-basin located within the City is provided in Table 6-1 and shown in Figure 6-2.

Table 6-1   
Outfalls by Basin

| Basin | Total Outfalls | Major Outfalls | Minor Outfalls |
| --- | --- | --- | --- |
| Mill Creek | 17 | 17 |  |
| Hospilika Creek | 8 | 8 |  |
| Totals | 25 | 25 |  |

## Suspect Illicit Discharges

If a suspect illicit discharge is encountered during the outfall reconnaissance inventory at a major outfall, field personnel shall take the following steps to identify and locate a suspect illicit discharge.

- Conduct field screening of the suspect illicit discharge;

- Try to identify the source of the suspect illicit discharge; and/or,

- Collect a sample of the suspect illicit discharge.

### Field Screening

Field personnel shall also estimate the flow and/or volume of the suspect illicit discharge.  If the initial screening observations and/or data indicate a suspect illicit discharge, field personnel will proceed in locating the source of the suspect illicit discharge.

Figure 6-2   
Smiths Station – Storm Water Outfalls

### Locating Illicit Discharges

If a suspect illicit discharge is identified during the outfall reconnaissance inventory, field personnel will try to locate the source of the illicit discharge before proceeding to the next outfall.  Field personnel shall attempt to follow the suspect illicit discharge up the storm sewer system to identify its source.

If the source of a suspect illicit discharge can not be easily located by field personnel, the location of the suspect illicit discharge will be reported to the Storm Water Program Coordinator.

### Sample Collection

If a discharge from a major outfall exhibits a physical characteristic of an illicit discharge and/or the source of the suspect illicit discharge cannot be easily identified, field personnel may collect a grab sample of the discharge.  The sample shall be shipped to an independent laboratory and analyzed for the following parameters.

| Ammonia | Chlorine | Surfactants |
| --- | --- | --- |
| Turbidity | Conductivity | Detergents |
| E. Coli | Total Coliform | Fluoride |
| Hardness | Potassium |  |

The City shall use the sample collection protocol provided in Appendix G of the Illicit Discharge Detection and Elimination Guidance Manual.  Analytical methods for samples submitted to an independent laboratory shall be in accordance with 40 CFR 136.

### Evaluation of Results

The Illicit Discharge Detection and Elimination Guidance Manual recommends the use of the Flow Chart Method for identifying the type of illicit discharge.  The Flow Chart Method is recommended because it is a relatively simple technique that analyzes four or five indicator parameters that are safe, reliable and inexpensive to measure.  The basic decision points involved in the Flow Chart Method for a residential area are shown in Figure 6-3.

Figure 6-3   
Flow Chart to Identify Illicit Discharges in Residential Areas

## Locating and Removing Illicit Discharges

When episodic incidental pollution is reported to the City (e.g. motor oil dumped into a storm drain), the City shall record the date, location, information source, and description of the event.  If necessary, field personnel shall be sent to investigate and to determine if the site should be cleaned (e.g. removal of yard waste, containment of oil, etc.).  After inspection and/or cleanup, the City shall keep a record of all actions taken regarding the incident.

### Locating Illicit Discharges

If a suspect illicit discharge is identified during the outfall reconnaissance inventory, field personnel shall try to locate the source of the illicit discharge before proceeding to the next outfall.  Field personnel shall employ the following techniques to locate the suspect illicit discharge.

- Storm Sewer System Evaluation – Field personnel shall attempt to follow the suspect illicit discharge up the storm sewer system to identify its source.

- Drainage Area Evaluation – Field personnel shall conduct a “windshield” survey of the drainage area to identify its source.

- If the source of an illicit discharge is located, field personnel shall report the location and source of the illicit discharge to the Storm Water Program Coordinator.

Upon receipt of the analytical results from samples collected of the suspect illicit discharge, the Storm Water Program Coordinator shall coordinate and/or perform a more detailed investigation to identify the source of a suspect illicit discharge.

- Analytical Results Evaluation – Evaluate the analytical results to characterize the type of illicit discharge.

- Detailed Storm Sewer System Evaluation – Using best available maps and data, attempt to follow the suspect illicit discharge up the storm sewer system to identify its source.  Investigation methods may include dye tracing, video inspection of storm sewer system, specialized contractors and other methods as appropriate.

- Drainage Area Evaluation – Review the land used and types of facilities located within the drainage area.  Conduct a survey of potential generating sites to identify the source of the illicit discharge.

### Removing Illicit Discharges

After the source of an illicit discharge has been identified, the Storm Water Program Coordinator shall take appropriate actions to abate the illicit discharge.

## Spill Response

The County’s Emergency Management Agency (EMA) is responsible for responding to any type of spill that may occur within the City’s MS4 Area.  If a spill enters the MS4, the EMA shall notify the Storm Water Program Coordinator.  The Storm Water Program Coordinator shall evaluate the impacts of the spill on the MS4 and ensure appropriate corrective measures are taken to abate the spill.  Follow up inspections of the effected area shall be performed as needed.

## Sanitary Sewer System

Residents of the City are provided sanitary sewer service by one of the following sources;

- Smiths Water and Sewer Authority; or

- On-Site Sewage Disposal.

### Smiths Water and Sewer Authority

Smiths Water and Sewer Authority provides a limited area with sanitary sewer service.  They are continuously trying to expand the service area as budgetary considerations and the procurement of easements allow.  General information about the authority is summarized in Table 6-2.

Table 6-2   
Smiths Water and Sewer Authority

| Basin | Water | Sewer |
| --- | --- | --- |
| Service Area | 170 mi2 | 170 mi2 |
| Water Lines | 225 mi | 9 mi |
| Customers | 9,100 | 300 |

If the City observes any problems with the sewer system, the City shall report the problem to the following.

Smiths Water and Sewer Authority

(334) 298-6342

### Lee County Health Department

The majority of residents located within the City’s MS4 area utilize on-site sewage disposal systems.  The Alabama Department of Public Health has the regulatory authority for the design, permitting, construction and maintenance of individual on-site sewage disposal systems.  The City shall contact the Alabama Department of Public Health to request a list of properties currently permitted for an on-site sewage disposal system.

If the City observes any problems with an on-site sewage disposal system, the City shall report the problem to the following.

Lee County Health Department

(334) 745-5765

As the City acquires data regarding the location of on-site sewage disposal systems, the City will update GIS data and maps to incorporate best available data.

## Enforcement

An effective illicit discharge and detection program uses an escalating scale of enforcement action to abate illicit discharges.  A flow chart showing the escalating scale of enforcement action is provided in Figure 6-4 and further described in the sections below.  Upon adoption of an Illicit Discharge Ordinance, the SWMP Plan shall be updated to incorporate the enforcement action provided in the ordinance.

### Warning Notice

When it is determined that any person has violated or continues to violate any provision of the Illicit Discharge Detection and Elimination Ordinance, the Storm Water Program Coordinator may serve upon that person a written Warning Notice specifying the particular violation believed to have occurred and requesting that the discharger immediately investigate the matter and take all actions required to abate the illicit discharge.

### Cease and Desist Order

If a person has been issued a warning notice and continues to violate any provision of the Illicit Discharge Detection and Elimination Ordinance, the Storm Water Program Coordinator may issue a Cease and Desist Order to the discharger.  The Cease and Desist Order shall require the discharger to cease and desist all discharges and to take all appropriate remedial or preventive actions as may be required to abate all violations.

If the illicit discharge is not corrected immediately, the Storm Water Program Coordinator shall determine if the enforcement action should be escalated to a written notice of violation.

### Notice of Violation

If a person has been issued a Cease and Desist Order and continues to violate any provision of the Illicit Discharge Detection and Elimination Ordinance, the Storm Water Program Coordinator may order compliance by issuing a written

Figure 6-4   
Enforcement Action Flow Chart

Notice of Violation.  At a minimum, the Notice of Violation shall contain the following:

- Name and address of alleged violator;

- Location or address of the site where the violation occurred;

- Nature of the violation;

- Description of the remedial actions required to abate the violation;

- Description of the penalties that may be assessed;

- Description of the appeal procedures;

- Time frame for abating the violation;

- If the violation is not abated within the specified time frame, the City may utilize its resources to abate the violation.

Upon issuance of a written Notice of Violation, the Storm Water Program Coordinator shall notify ADEM regarding status of the illicit discharge.

If the violation is not corrected within the time frame specified in the Notice of Violation, the Storm Water Program Coordinator shall determine if the enforcement action should be escalated to Judicial Proceedings.

### Judicial Proceedings

If a person has been issued a written Notice of Violation and continues to violate any provision of the Illicit Discharge Detection and Elimination Ordinance, the Storm Water Program Coordinator may recommend to the City Council to initiate legal proceedings against the discharger.

The Storm Water Program Coordinator, with the consent of the City Council, may also initiate civil proceedings seeking monetary damages for any damages caused to public storm water facilities by the discharger, and may seek injunctive or other equitable relief to abate the illicit discharge.

### Fines and Penalties

Upon adoption of an Illicit Discharge Ordinance, the SWMP Plan shall be updated to incorporate the fines and penalties provided in the ordinance.

### Public Nuisance

In addition to the enforcement processes and penalties described above, any condition caused or permitted to exist that is a threat to public health, safety and welfare shall be declared and deemed a nuisance.  The Storm Water Program Coordinator may take all appropriate measures to abate the nuisance.

## Staff Training

Staff selected to perform the outfall reconnaissance inventory shall receive the following initial training.

Class Room Training

- Outfall reconnaissance inventory

Field Training

- Water quality monitoring procedures;

- Outfall reconnaissance inventory field procedures; and,

- Illicit discharge tracking procedures.

Staff shall receive annual refresher training.  Any new staff incorporated into the outfall reconnaissance inventory shall receive the initial training described above and annual refresher training.

## Standard Operating Procedures

The City shall develop Standard Operating Procedures (SOPs) for the various activities required for implementing the Illicit Discharge Detection and Elimination Program.  SOPs shall include but are not limited to the following:

- Sampling equipment use, maintenance and storage;

- Outfall Reconnaissance Inventory;

  - Field procedures

  - Data collection

  - Data management

  - Sample Collection

- Illicit Discharge Evaluation;

- On-site sewage disposal system evaluation; and,

- Sanitary sewer overflow evaluation.

As SOPs are developed, they shall be included in Appendix C.

## Program Goals

The City has developed realistic, achievable and measurable goals and performance milestones to measure the progress in implementing the illicit discharge detection and elimination program.  Program goals are summarized in Table 6-3.

## Program Evaluation

The most basic measure to evaluate the program effectiveness is to evaluate whether the program goals are being met.  At the end of the permit year, the City will evaluate the program goals and overall effectiveness of illicit discharge detection and elimination program.  Results of the program evaluation will be summarized in the Annual Report.

Table 6-3   
Illicit Discharge – Program Goals

DO NOT DELETE SECTION BREAK

# Construction Site Runoff

## Introduction

Over the previous permit cycles, the City has relied upon Lee County to implement its Construction Site Runoff Program.  Lee County has developed and continuously implemented a Construction Site Runoff Program to monitor and control pollutants in storm water discharges to the MS4 from the following land disturbing activities.

- Land disturbance equal to or greater than one (1) acre; and,

- Land disturbance involving less than one (1) acre that is part of a larger common plan of development.

This Construction Site Runoff Program has been developed using the following guidance materials.

- NPDES Permit No. ALR040036;

- Developing Your Storm Water Pollution Prevention Plan, A Guide for Construction Sites, Environmental Protection Agency, EPA 833-R-06-004, May 2007; and,

- Alabama Handbook for Erosion Control, Sediment Control, and Storm Water Management on Construction Sites and Urban Areas, Alabama Soil and Water Conservation Committee, March 2009.

These documents are incorporated into the Construction Site Runoff Program by reference and are available in the office of the Storm Water Program Coordinator.

## Legal Authority

In accordance with 40 CFR 122.34(b)(4)(ii)(A), the City shall develop an Erosion and Sediment Control Ordinance that establishes the legal authority for the City to implement its Construction Site Runoff Program.  A copy of the Erosion and Sediment Control Ordinance shall be included in Appendix D.

## Requirements and Control Measures

The City’s Construction Site Runoff Program will require owners and/or operators of construction sites to select, design, install, implement, inspect and maintain effective Best Management Practices (BMPs) to minimize the discharge of pollutants into the MS4 to the maximum extent practicable (MEP).

### Erosion and Sediment Controls

The owner and/or operator shall select, design, install, implement, inspect and maintain BMPs appropriate to specific site conditions to, at a minimum;

- Control storm water volume and velocity within the site to minimize soil erosion;

- Control storm water discharges, including both peak flow rates and total storm water volume, to minimize erosion at outlets and to minimize downstream channel and stream bank erosion;

- Minimize the disturbance of steep slopes;

- Minimize sediment discharges from the site;

- Minimize the generation of dust and off-site tracking of sediment from vehicles;

- Stabilize all construction entrances and exits;

- Provide and maintain natural buffers around surface waters, direct storm water to vegetated areas to increase sediment removal and maximize storm water infiltration, unless infeasible; and,

- Implement measures or requirements to achieve the pollutant reductions consistent with a Total Maximum Daily Load (TMDL) finalized or approved by EPA.

### Soil Stabilization

Stabilization of disturbed areas must, at a minimum, be initiated immediately whenever any clearing, grading, excavating or other earth disturbing activities have permanently ceased on any portion of the site, or temporarily ceased on any portion of the site and will not resume for a period exceeding 13 calendar days.

### Dewatering

Discharges from dewatering activities, including discharges from dewatering of trenches and excavations are prohibited unless managed by appropriate BMPs.

### Pollution Prevention Measures

The owner and/or operator shall select, design, install, implement, and maintain effective pollution prevention measures to minimize the discharge of pollutants.  At a minimum, such measures must be designed, installed, implemented and maintained to:

- Minimize the discharge of pollutants from equipment and vehicle washing, wheel wash water, and other wash waters.  Wash waters must be treated in a sediment basin or alternative control that provides equivalent or better treatment prior to discharge;

- Minimize the exposure of building materials, building products, construction wastes, trash, landscape materials, fertilizers, pesticides, herbicides, detergents, sanitary waste and other materials present on the site to precipitation and to storm water; and,

- Minimize the discharge of pollutants from spills and leaks and implement chemical spill and leak prevention and response procedures.

### Prohibited Discharges

The following discharges are prohibited:

- Wastewater from washout of concrete, unless managed by an appropriate BMP;

- Wastewater from washout and cleanout of stucco, paint, from release oils, curing compounds and other construction materials;

- Fuels, oils, or other pollutants used in vehicle and equipment operation and maintenance; and,

- Soaps or solvents used in vehicle and equipment washing.

### Surface Outlets

When discharging from basins and impoundments the owner and/or operator shall utilize outlet structures that withdraw water from the surface, unless infeasible.

## Permitting

The City utilizes Lee County’s resources to review, process and approve permits for the construction of subdivisions and structures.  The County issues separate permits for the construction of a subdivision and the construction of individual buildings.  The permitting process for each type of construction is described in the following sections.

### Subdivision Permit

Before the commencement of any land disturbing activity that is not exempted from obtaining a permit, the owner and/or operator of the construction site is required to submit an Application for Proposed Plat Review.  The permit application requires the following information.

- Property Location;

- Applicant Information;

- Property Owner Information;

- Engineer Information;

- Land Surveyor Information;

- Attorney Information;

- Type of Construction;

- If the proposed construction activity is required to obtain a General NPDES Permit for construction activity from ADEM, a copy of the Notice of Intent (NOI) submitted to ADEM and a copy of ADEM’s authorization under the General NPDES Permit;

- Proposed Plat;

- Construction Plans; and,

- Application Fee.

Following approval of the Proposed Plat by the County Commission, the County Engineer shall issue a Permit to Develop for the Proposed Plat.  A Copy of the Application for Proposed Plat Review and Permit to Develop are provided in Appendix E.

The Application for Proposed Plat Review is submitted to the Engineering Department.  The process for reviewing and approving the permit application is provided in Figure 7-1.

Figure 7-1   
Permitting and Plan Review Flow Chart

### Plan Review

BMPs selected for the site shall be designed, sized, and/or maintained in accordance with the following references.

- Alabama Handbook for Erosion Control, Sediment Control, and Storm Water Management on Construction Sites and Urban Areas, Alabama Soil and Water Conservation Committee, March 2009.

- Developing Your Storm Water Pollution Prevention Plan, A Guide for Construction Sites, Environmental Protection Agency, EPA 833-R-06-004, May 2007; and,

Review of the CBMP Plan is performed in the Engineering Department by personnel that are registered professional engineers knowledgeable in the many facets of design, storm water management, erosion and sediment control, and construction.  The County shall develop a Standard Operating Procedure (SOP) and checklist for CBMP Plan review to ensure consistency with the Erosion and Sedimentation Control Policy.  Once the SOP and CBMP Plan Review Checklist are developed, they shall be included in Appendix E.

### Building Permit

Construction within the unincorporated areas of the county require a building permit for new construction, additions, renovations or repairs that exceed a construction value of $1,000.  Before the commencement of construction, the owner and/or operator is required to submit a Building Permit Application to the Building Inspections Department.  The permit application requires the following information.

- Property Location;

- Applicant Information;

- Property Owner Information;

- Type of Work;

- Proposed Use;

- Source of Water Supply;

- Type of Sewage Disposal; and,

- Contractor Information.

A copy of the Building Permit Application form is provided in Appendix E.

## Construction Site Inventory

The City shall continuously maintain an updated inventory of all active construction sites within the City’s MS4 area.  The City may develop a map of active construction sites as of the end of the previous permit year.

## Inspections

After the CBMP Plan has been approved, a copy of the approved CBMP Plan shall be provided to the Developer and the project shall be assigned to one of the County’s building inspectors.  The building inspector shall review the CBMP Plan, design plans and all applicable project documents.  All inspections and activities associated with the project will be tracked by the permit number.

All County building inspectors shall maintain the Qualified Credentialed Inspector (QCI) certification.

### Initial Inspection

After the Developer has installed the initial BMPs, the Developer shall contact the building inspector to schedule an initial inspection.  The Developer and/or their representatives shall accompany the building inspector during the initial inspection.  The initial inspection shall address the following:

- Inspect all discharge points from the site;

- Inspect perimeter controls; and,

- Compare installed BMPs with the CBMP Plan.

If all BMPs have been installed in accordance with the CBMP Plan and to the satisfaction of the building inspector, the building inspector shall approve the initial inspection and allow the Developer to proceed with construction of the project.  The building inspector shall document the results of the initial inspection.

If deficiencies are noted during the initial inspection, the building inspector shall discuss the nature of the deficiencies with the Developer during the initial inspection.  After all deficiencies have been corrected, the Developer shall contact the building inspector to re-schedule the initial inspection.  If all deficiencies have been corrected, the building inspector shall approve the initial inspection and allow the Developer to proceed with construction of the project.  The building inspector shall document the results of the initial inspection.

### Routine Inspection

The building inspector performs routine inspections throughout the construction process.  Routine inspections are typically performed for the following:

- Site Clearing

- Grading

- Foundations

- Framing

- Plumbing

- Electrical

- Mechanical

- Landscaping

Since all of the County’s building inspectors will be QCI certified, the building inspector shall evaluate BMPs before inspecting any other activities at the site.  The inspection shall address the following:

- Inspect all discharge points from the site;

- Inspect perimeter controls;

- Compare installed BMPs with the CBMP Plan;

- Inspect disturbed areas not currently being worked;

- Inspect areas with final stabilization;

- Inspect perimeter areas; and

- Request copies of the Developer’s inspection reports.

If deficiencies are noted during the inspection, the building inspector shall discuss the nature of the deficiencies with the Developer.  The Developer shall be given 48 hours to correct all deficiencies noted by the building inspector.  Other inspections associated with foundations, framing, plumbing, electrical, and mechanical will not be performed until all BMP deficiencies have been corrected.  The building inspector shall document the results of the inspection and schedule the site for re-inspection.

At a minimum, routine inspections shall occur on a monthly basis.  The inspection frequency may be increased depending upon the following:

- Status of construction;

- Site conditions;

- Site size;

- Site location;

- Site proximity to sensitive waters and/or areas;

- Type of construction;

- Historical performance and/or issues with the Developer; and

- Significant storm events.

### Re-Inspection

If a site fails the routine inspection, the site shall be scheduled for a re-inspection within 48 hours.  The re-inspection shall focus on areas that were determined deficient during the routine inspection.  If all deficiencies have been corrected to the satisfaction of the building inspector, the building inspector shall continue with routine inspections.  The building inspector shall document the results of the inspection.

### Final Inspection

Upon completion of all construction activity, the Developer shall request a final inspection.  The inspection shall address the following:

- Inspect all discharge points from the site;

- Inspect areas with final stabilization;

- Inspect perimeter areas;

- Request copies of the Developer’s inspection reports; and

- Request copy of the Termination of Registration letter from ADEM.

If deficiencies are noted during the inspection, the building inspector shall discuss the nature of the deficiencies with the Developer and the Developer shall be asked to reschedule the final inspection.  The building inspector shall document the results of the inspection and schedule the site for re-inspection.

If the site passes the final inspection, a certificate of occupancy shall be provided.  The building inspector shall document the results of the inspection.

## Enforcement

The City’s Erosion and Sedimentation Control Ordinance shall provide an escalating scale of enforcement action for violation of any provision in the ordinance.  Depending on the severity of a violation, the enforcement action may be escalated as deemed appropriate.  The County’s Building Inspector shall provide enforcement action recommendations to the City’s Storm Water Program Coordinator.  The City’s Storm Water Program Coordinator shall be responsible for enforcing the requirements of the Erosion and Sedimentation Control Ordinance.  Upon adoption of an Erosion and Sedimentation Contorl Ordinance, the SWMP Plan shall be updated to incorporate the enforcement action provided in the ordinance.  A flow chart showing the escalating scale of enforcement action is provided in Figure 7-2 and further described in the sections below.

### Verbal Warning

If deficiencies are noted during an inspection, the building inspector shall discuss the nature of the deficiencies with the Developer.  The following actions shall be taken to abate any violations.

- The Developer shall be given a verbal warning and 48 hours to correct all deficiencies noted by the building inspector.

- The building inspector shall perform a re-inspection within 48 hours.

- If the deficiencies are not corrected within 48 hours, the building inspector shall issue a second verbal warning and 48 hours to correct all deficiencies noted.

- The building inspector shall perform a re-inspection within 48 hours.

- If the deficiencies are not corrected within 48 hours of the second verbal warning, the building inspector shall notify the Storm Water Program Coordinator.

- The Storm Water Program Coordinator shall determine if the enforcement action should be escalated to a cease and desist order.

### Cease and Desist Order

If a Developer has been issued a second verbal warning and continues to violate any provision of the Erosion and Sedimentation Control Ordinance, the Storm Water Program Coordinator may issue a Cease and Desist Order to the Developer.  The Cease and Desist Order shall require the Developer to cease and desist all work immediately and to take all appropriate remedial or preventive actions as may be required to abate all violations.

If the violation is not corrected immediately, the Storm Water Program Coordinator shall determine if the enforcement action should be escalated to a written notice of violation.

### Notice of Violation

If the Storm Water Program Coordinator determines that a Developer has violated and/or continues to violate any provision of the Erosion and Sedimentation Control Ordinance, the Storm Water Program Coordinator may issue the Developer a written Notice of Violation.  At a minimum, the Notice of Violation shall contain the following:

- Name and address of alleged violator;

- Location or address of the site where the violation occurred;

- Nature of the violation;

- Description of the remedial actions required to abate the violation;

- Description of the penalties that may be assessed;

- Description of the appeal procedures;

- Time frame for abating the violation;

- If the violation is not abated within the specified time frame, the City may utilize its resources to abate the violation.

Upon issuance of a written Notice of Violation, the Storm Water Program Coordinator shall notify ADEM regarding status of the site.

If the violation is not corrected within the time frame specified in the Notice of Violation, the Storm Water Program Coordinator shall notify ADEM regarding status of the site.

### Compliance Order

If a Developer has been issued a written Notice of Violation and continues to violate any provision of the Erosion and Sedimentation Control Ordinance, the Construction Site Runoff Program Coordinator may issue the Developer a written Compliance Order.  The Compliance Order shall direct the Developer to take all necessary actions to abate the violation within a specified time period.

If the violation is not corrected within the time frame specified in the Compliance Order, the Construction Site Runoff Program Coordinator shall determine if the enforcement action should be escalated to Judicial Proceedings.

### Judicial Proceedings

If a Developer has been issued a written Compliance Order and continues to violate any provision of the Erosion and Sedimentation Control Ordinance, the Construction Site Runoff Program Coordinator may recommend to the City Council to initiate legal proceedings against the Developer.

The Construction Site Runoff Program Coordinator, with the consent of the City Council, may also initiate civil proceedings seeking monetary damages for any damages caused to public storm water facilities by the Developer, and may seek injunctive or other equitable relief to enforce compliance with the Erosion and Sedimentation Control Ordinance.

### Fines and Penalties

Upon adoption of an Erosion and Sedimentation Control Ordinance, the SWMP Plan shall be updated to incorporate the fines and penalties provided in the ordinance.

## Staff Training

The Building Inspections Department has been tasked with the responsibility of implementing the Construction Site Runoff Program.  All building inspectors shall maintain current certification as a Qualified Credentialed Inspector (QCI).  To further support this program element, the Storm Water Program Coordinator may select additional staff to obtain and maintain either a QCP or QCI certification.

Staff shall receive annual refresher training.  Copies of the current QCI training certificates shall be maintained in Appendix D.

## Program Goals

The City has developed realistic, achievable and measurable goals and performance milestones to measure the progress in implementing a construction site runoff program.  Program goals are summarized in Table 7-1.

Figure 7-2   
Enforcement Action Flow Chart

## Program Evaluation

The most basic measure to evaluate the program effectiveness is to evaluate whether the program goals are being met.  At the end of the permit year, the City will evaluate the program goals and overall effectiveness in educating the public on storm water related issues.  Results of the program evaluation will be summarized in the Annual Report.

Table 7-1   
Construction Site Runoff – Program Goals

DO NOT DELETE SECTION BREAK

# Post Construction 
Storm Water Management

## Introduction

The NPDES permit requires the City to develop, implement and enforce a program to address storm water discharges from new development and redevelopment projects that disturb greater than one acre, and projects less than one acre that are part of a larger common plan of development.

Post construction runoff generally has two types of impacts.  First, developed areas will increase the type and quantity of pollutants in storm water runoff.  When storm water flows over areas altered by development it has a potential to pick up a variety of pollutants including but not limited to trash, debris, sediment, oil, grease, pesticides, heavy metals and/or nutrients, and carry these pollutants to the streams and lakes.  Second, development increases the impervious surfaces of an area resulting in a quantity increase of storm water runoff.  Increased impervious surfaces like buildings and parking lots interrupt the natural cycle of gradual percolation of storm water through the vegetation and soil.  Instead, storm water is collected on the impervious surface and conveyed to drainage systems where increase volumes of storm water runoff enter the stream quickly.  As a result, stream banks are more susceptible to scouring and the down stream areas have a higher potential of flooding.

## Legal Authority

In accordance with 40 CFR 122.34(b)(5)(ii)(B), the City shall develop a Post Construction Storm Water Management Ordinance that establishes the legal authority for the City to address post-construction storm water runoff from new development and redevelopment projects.

Article VII, Section 3(g) of the Zoning Ordinance requires developments located within the City to manage storm water runoff resulting from a 1-year storm event on site through the use of detention/infiltrations basins, infiltration strips, buffers and landscaping.

## Program Components

Post construction storm water management involves the implementation of structural and/or non-structural BMPs to provide permanent storm water management over the life of a property’s use.  It is important to recognize that many BMPs are climate dependent and not all BMPs are suitable for every site.  The City will evaluate and identify BMPs that are suitable for this area.  The following sections will generally describe BMPs that will be considered.

### Low Impact Development

Where feasible, the City will consider and encourage developers to utilize Low Impact Development (LID) and/or green infrastructure BMPs to minimize the post construction impacts of storm water runoff.  The City will evaluate and identify the most appropriate LID BMPs.

### Non-Structural BMPs

The City has developed zoning regulations, zoning maps and subdivision regulations to guide existing land uses and development patterns within the City.  To complement the regulations, non-structural BMPs shall include but not limited to the following.

- Develop design standards;

- Develop plan review and approval procedures;

- Develop post construction BMP evaluation and inspection procedures; and,

- Develop BMP maintenance requirements.

The subdivision regulations already contain a general provision to address the quantity of post developed storm water runoff.

### Structural BMPs

There are a variety of structural BMPs capable of not only managing the volume and velocity of storm water runoff, but also provides very effective treatment of storm water runoff.  Structural BMPs may include the following.

- Storm water retention / detention basins;

- Infiltration basins / trenches;

- Pervious pavement;

- Grass swales;

- Filter strips;

- Constructed wetlands; and,

- Rain gardens.

As the City’s post construction storm water management program develops, the City will evaluate and identify the most appropriate BMPs.  A design rainfall event with an intensity up to a 2-year, 24-hour storm event shall be the basis for the design and implementation of post-construction water quality BMPs.

### Operation and Maintenance

In order for post developed BMPs to be effective, routine maintenance of the BMP will be required.  The City shall evaluate mechanisms that can be utilized to ensure proper maintenance of the BMPs.

### Tracking System

As post development BMPs are implemented, the City shall develop a tracking and inspection system to ensure that BMPs continue to function properly.

## Program Goals

The City has developed realistic, achievable and measurable goals and performance milestones to measure the progress in implementing a post construction storm water management program.  Program goals are summarized in Table 8-1.

## Program Evaluation

The most basic measure to evaluate the program effectiveness is to evaluate whether the program goals are being met.  At the end of the permit year, the City will evaluate the program goals and overall effectiveness of post construction storm water controls to improve storm water quality.  Results of the program evaluation will be summarized in the Annual Report.

Table 8-1   
Post Construction Storm Water Management – Program Goals

DO NOT DELETE SECTION BREAK

# Pollution Prevention
Good Housekeeping

## Introduction

Pollution prevention / good housekeeping for municipal operations is a control measure designed to emphasize the operation and maintenance of the MS4 and proper training of city employees.  Performing municipal activities in a careful and proper manner prevents and/or reduces the potential of polluting storm water runoff.  Operations specifically identified in the NPDES permit include the following:

- Park and open space;

- Fleet and building maintenance;

- New construction and land disturbances;

- Storm sewer system maintenance;

- Roads and highways;

- Municipal parking lots;

- Maintenance and storage yards;

- Waste transfer stations; and,

- Recycling centers.

## Program Components

The pollution prevention / good housekeeping program is a key element to help the MS4 to reduce potential pollutants from entering storm water runoff.  This control measure requires the City to evaluate existing facilities and operations to identify areas of improvement that will help ensure a reduction in the amount and type of potential pollutants.

### Facility Inventory

The first step is to evaluate and assess the areas and facilities to determine which activities may currently have a negative impact on water quality and to find solutions for these activities.  The simplest solution is to limit the number of activities that are performed outside and exposed to storm water.

The City shall complete an inventory of City facilities and areas that have a potential to interact with storm water runoff.  Once the facility inventory is completed, the City shall develop a map identifying the facilities location with respect to water bodies.  A comprehensive list and map of City facilities will help county employees build a better awareness of their locations within the MS4 and their potential to contribute pollutants in storm water runoff.

### Facility Assessment

A comprehensive facility assessment is necessary to identify the facilities most likely to contribute storm water pollutants and the facilities in need of storm water controls.  The facility assessments shall involve a detailed site inspection to identify improperly stored materials, activities that should not be performed outside, and poor housekeeping practices.

### Industrial Facilities

The City shall develop an inventory of industrial and commercial facilities that have a potential to discharge pollutants into the City’s MS4.  The inventory shall include the following types of facilities.

- Facilities that have a National Pollutant Discharge Elimination Systems (NPDES) permit;

- Facilities that are subject to EPCRA Title III, Section 313;

- Municipal Facilities; and,

- Commercial facilities.

The inventory shall include the following minimum information for each facility.

- Name;

- Address;

- Principal products or services provided;

- Name of receiving stream; and

- Standard Industrial Classification (SIC) codes.

The City shall prioritize all facilities into high, medium, low and no exposure categories on the basis of the potential of the facility to contribute pollutants in storm water runoff.  Criteria that will be evaluated to determine a facility’s inspection priority shall include but not be limited to the following.

- NPDES permitted facility

- Type of business

- Pollutant sources on-site and exposed to stormwater runoff

- Pollutants of concern

- Proximity to a water body

- Violation history of the facility

Upon completion of a facility inventory, the City shall conduct an inspection to determine if there is evidence of unauthorized discharges, illicit discharges, and potential to discharge pollutants in storm water runoff.  The inspection shall include the following activities as applicable.

- Review NPDES Permit requirements,

- Review the Storm Water Pollution Prevention Plan,

- Review storm water sampling data for compliance with NPDES Permit conditions,

- Review non storm water discharge evaluations,

- Review compliance records and violation history,

- Evaluate potential pollutant sources; and,

- Identify storm water outfalls.

### Standard Operating Procedures

Each City facility will require a different set of control measures depending on the nature and activities that occur at the facility and the types of materials that are stored and used.  Developing and maintaining a site specific standard operating procedure for each facility will help to ensure that employees responsible for the facility are aware of the storm water controls required for the facility.  Using the information and data collected during the facility assessment, the City shall develop facility specific control measures and standard operating practices to minimize the potential of pollutants to interact with storm water.

### Storm Sewer System Maintenance

The City’s storm sewer system consists of culverts, grassed and lined drainage swales, inlets and bridges.  In order to maintain the City’s infrastructure, several maintenance programs have been implemented that include.

- Bridge inspection;

- Dirt road inspection and maintenance;

- Paved road inspection and maintenance; and,

- Right-of-way inspection and litter control.

The City shall review the standard operating procedures for the above-listed maintenance programs to determine if additional procedures or practices can be employed to protect the quality of storm water runoff.

### Training

The City shall evaluate and develop a training program to educate city employees on how to incorporate pollution prevention / good housekeeping practices into City operations and facilities.  Training topics may include the following.

- Federal and State storm water regulations;

- Storm water pollution prevention plan requirements;

- Significant materials and storage practices;

- Best Management Practices (BMPs);

- Non storm water discharges and evaluations;

- Site inspection and documentation protocols;

- Application of pesticides, herbicides and fertilizers;

- Road maintenance BMPs; and,

- Facility specific standard operating procedures.

To minimize the cost and resources associated with training, the City anticipates utilizing training programs and materials that have already been developed by EPA, ADEM and/or other readily available sources.

### Flood Management

The NPDES permit requires the City to evaluate flood management projects for incorporation of additional water quality protection devices and practices to help improve water quality.  If flood management projects are proposed within the City’s MS4 area, the City will evaluate the projects for the potential incorporation of water quality features.

## Program Goals

The City has developed realistic, achievable and measurable goals and performance milestones to measure the progress in implementing a pollution prevention / good housekeeping program.  Program goals are summarized in Table 8-1.

## Program Evaluation

The most basic measure to evaluate the program effectiveness is to evaluate whether the program goals are being met.  At the end of the permit year, the City will evaluate the program goals and overall effectiveness of the program to help reduce pollutants in storm water runoff.  Results of the program evaluation will be summarized in the Annual Report.

Table 9-1   
Pollution Prevention / Good Housekeeping – Program Goals

DO NOT DELETE SECTION BREAK

# Monitoring Plan

## Introduction

During development of the Mill Creek Watershed Management Plan, the Technical Committee reviewed and analyzed water quality data collected for Mill Creek.  A summary of the water quality data collected is provided in Table 10-1.

Table 10-1   
Mill Creek Historical Water Quality Data

| Sample Parameters | Agency | Year |
| --- | --- | --- |
| Water Chemistry and Physical | ADEM – Clean Water Strategy Project | 1996 |
| Macroinverterbrate and Physical | ADEM – Middle Chattahoochee Water Quality Study | 1999 |
| Water Chemistry, Physical, Bacteriological and Macroinvertebrate | ADEM – Five Year Rotational River Basin Assessment | 2008 |
| Water Chemistry | Alabama Water Watch | May 2010 to Present |

An analysis of the water quality data collected is presented in the Mill Creek Watershed management Plan.

## Alabama Water Watch

Alabama Water Watch (AWW) is a statewide program dedicated to developing citizen volunteer monitoring of Alabama’s lakes, streams and coasts.  The City is developing a partnership with AWW and will coordinate with AWW to continue monitoring on Mill Creek.

### Sampling Sites

In May 2010, AWW volunteers began collecting monthly water quality data in Mill Creek at two locations.  Information for each location is shown in Figure 10-1 and summarized in Table 10-2.  As the City’s MS4 Program continues to evolve, the City may identify additional sites within the City to conduct monitoring.

Figure 10-1   
AWW Monitoring Locations

Table 10-2   
AWW Monitoring Locations

| Site | Location | Latitude | Longitude |
| --- | --- | --- | --- |
| 03015001 | Lee Road 246 | 32.5124 | -85.0870 |
| 03015002 | Poyner Drive and Poyner Court | 32.4876 | -85.0589 |

### Sample Parameters

AWW monitoring provides baseline water quality data to help evaluate water chemistry of surface waters.  AWW water chemistry monitors the following parameters.

| Temperature | pH |
| --- | --- |
| Dissolve Oxygen | Turbidity |
| Alakalinity | Hardness |

### Sample Collection and Analysis

AWW has developed and implemented a Quality Assurance Plan (QAP) that provides direction and guidance in sample collection and analysis.  Information contained in the QAP includes the following.

- Data Quality Assurance Objectives;

- Sampling Procedures;

- Sample Custody Procedures;

- Calibration procedures and Frequency;

- Analytical Procedures;

- Data Reduction, Validation and Reporting;

- Internal Quality Control Checks;

- Performance and System Audits;

- Preventive Maintenance;

- Special Routine Procedures used to Assess Data Precision, Accuracy and Completeness;

- Corrective Action; and,

- Quality Assurance Reports.

Part 3 of the QAP provides specific instructions and test procedures for each parameter.

Samples are analyzed using a LaMotte Chemical Company water quality test kit that has been custom-made for the Alabama Water Watch Program.  The water quality test kit contains all of the necessary reagents, solutions and equipment needed to analyze a water sample for the parameters listed above.  A picture of the LaMotte Chemical Company water quality test kit is provided in Figure 10-2.

### Analytical Results

Water quality data collected by water quality monitors is available on AWW’s website at https://fp.auburn.edu/icaae/indes.aspx.  Anyone can go to this web site and review all of the water quality data that has been collected to date.

### Training

AWW has established a certification program to train and educate citizen monitors on how to collect and analyze water samples.  The training program provides assurance that water quality samples will be collected and analyzed in the same way so that the results from each watershed in Alabama are standardized.

The City will identify staff to attend the training and become an AWW Certified Water Quality Monitor.

Figure 10-2   
Water Quality Test Kit

## Data Evaluation

The City shall review water quality data collected over the previous permit year and present a summary of the data in the annual report.  Graphical representations of the data are available from AWW and shall be included in the annual report.

DO NOT DELETE SECTION BREAK

Appendix A  

NPDES Permit ALR040036

Appendix B  

Public Education

Appendix C  

Illicit Discharge
Detection and Elimination

Appendix D  

Construction Site Runoff

Appendix E  

Post Construction
Storm Water Management

Appendix F  

Pollution Prevention
Good Housekeeping

Appendix G  

Monitoring

# Text boxes

Smiths Station

LaFaye Dellinger

Mayor

Phone:  (334)

Inspection Passes

Storm Water Program Coordinator

Jerry F. Bentley

City Clerk

Phone:  (334) 297-8771

Notify ADEM

Yes

Yes

Yes

No

No

Yes

Compliance Order

No Further

Action

No

Assign Permit Number Route Plans for Review

Violation

Abated

Re-Inspection

Building Inspections Department Review

Re-Inspection

Violation

Abated

Re-Inspection

2nd Verbal Warning

Judicial Proceedings

Submit Construction Plans to
Engineering Department

Notice of Violation

Technical Resource Coordinator

Lee County Engineer

Phone:  (334) 737-7011

Cease & Desist Order

Violation Abated

Yes

Coordinator

Lisa Pippin-Hall

Planning and Zoning Administrator

Phone:  (334) 745-9792

No

Warning Notice

Notice of Violation

No Further

Action

Violation

Identified

Cease & Desist Order

Highway Department

Review

Plans Approved

Comments to Developer

For Re-submittal

Permit Application

Inspection Passes

Inspection Passes

No

Yes

Approved Plans to Developer

Schedule & Perform Initial BMP Inspection

Inspection Approved

Begin Construction

Yes

No

No

Continue Construction

1st Verbal Warning

Building Inspections

Official

Phone:  (334) 737-7014

Coordinator

Phone:  (334) 737-7011

Judicial Proceedings

Re-Inspection

Re-Inspection

Inspection Passes

Re-Inspection

Re-Inspection

Re-Inspection

Inspection Passes

Inspection Passes

No

No

Continue Construction

No

No

Yes

Yes

Yes

Yes

Yes

Notify ADEM

No